## Licensee's Details
LICENCE NO. | 3657
LICENCE HOLDER | Duxton Winery Buronga
ADDRESS | 514 SILVER CITY HIGHWAY
MOURQUONG
BURONGA NSW 2739
LINK TO EPA LICENCE | https://apps.epa.nsw.gov.au/prpoeoapp/ViewPOEOLicence.aspx?DOCID=171390&SYSUID=1&LICID=3657
TELEPHONE COMPLAINTS LINE | (03) 50221322
SAMPLING/MONITORING LOCATION
MAP ATTACHED

## Sampling Schedule
Year: 2020
|  |  | (WW) | (WW) | (GW) | (GW) | Well 5 | (SO) | (RW) | (CW) |  | RECEIVED
Production Period | Sample Number | Week Beginning | Wastewater (Civil Test) | Wastewater (Eurofins) | Groundwater Depth | Groundwater Chemistries |  | Soil | Raw Water | Chemical Wastewater
[10 empty] | Depth | Chemistry | COC | Results
Pre-vintage | BU2001 | 2020-01-13 |  |  | depth |  | Weekly Internal Check |  |  | Month Internal Check
| BU2002 | 2020-01-28
Vintage | BU2003 | 2020-02-03 |  | #
| BU2004 | 2020-02-10 |  | #
| BU2005 | 2020-02-17 |  | #
| BU2006 | 2020-02-24
| BU2007 | 2020-03-02
| BU2008 | 2020-03-09
| BU2009 | 2020-03-16
| BU2010 | 2020-03-23
| BU2011 | 2020-03-30
| BU2012 | 2020-04-06
| BU2013 | 2020-04-14 |  |  | depth
| BU2014 | 2020-04-20
Post Vintage | BU2015 | 2020-04-28
| BU2016 | 2020-05-11
| BU2017 | 2020-05-25
| BU2018 | 2020-06-09
Non Vintage | BU2019 | 2020-06-29 |  |  | depth
| BU2020 | 2020-08-24
| BU2021 | 2020-10-19 |  |  | depth
| BU2022 | 2020-12-14
Sample Source and Testing Responsibility: | Analysis: Refer to Duxton Winery Environmental Monitoring Program (BUENV-PRO-020)
| Wastewater (WW) = 24 hour composite from discharge point (point 6) resulting in one test sample from 8 samples of similar volume collected at equal intervals over 24-48hrs. | [8 empty] | pH AND CONDUCTIVITY ONLY
Wastewater (WW) = 24 hour composite from discharge point (point 6) resulting in one test sample from 8 samples of similar volume collected at equal intervals over 24-48hrs. # symbol indicates when BOD tests are performed on the sample
| Groundwater (GW) =(Well number ‘5’ will be checked on a weekly basis for depths and pH of water where present) | [7 empty] | depth | = measure AHD
= chemistry
Soil (SO) = Composite samples, with each sample being made up of soil from a specified depth in each monitoring location (e.g. soil taken from point a, b and c at 10cm bulked together to form a sample).
| Raw Water (RW) sample locations 1. Winery Feed Water (raw water not town) 5. 600 Tanks Area 2. Town Water Supply (Tank) 6. 800 Tanks Area 3. 200 Tanks Area 7. Export (Kitchen) 4. 500 Tanks Area | [8 empty] | = chemistry
| Chemical Wastewater (CW) = |  | Monthly checks by Duxton Winery staff. | [5 empty] | depth
|  |  | Annual analysis by Laboratory | [6 empty] | = chemistry
Analyst Details: | Eurofins ¦ mgt 6 Monterey Road DANDENONG SOUTH, VIC 3175 T: (+61) (3) 8564 5000 Michael Cassidy Email: MichaelCassidy@eurofins.com | [7 empty] | Civil Test 2 / 48 Tenth Street MILDURA, VIC 3500 T: (+61) (3) 8564 5000 - F: (+61) (3) 8564 5090 Phone: (03) 8564 5088 (direct)
Sample Handling: | All samples must be taken as close as practicable to the scheduled courier pick up time, and freeze the samples before dispatching by COB Wednesday of sample collection week. Samples to be kept refrigerated and sent in an esky with ice blocks inside.
Sample Labeling: | Ensure that each sample is addressed to correct analyst. Label all samples clearly with Duxton Winery sample number (e.g. BU1302), sample type (e.g. WW), and date. Complete a Chain of Custody (COC) form which must go with samples. Retain a copy for your records.
Analytical Parameters: | Wastewater (WW) Point 6 (Civil Test) |  | Units | Wastewater (WW) Point 6 (Eurofins) |  | Units | Groundwater (GW) Points 8-12 | Units | Soil (SO) Points 2-5 | Units | Raw Water (RW) | Chemical Wastewater (CW) | Units
| pH |  | pH units | TOC |  | mg/L | TOC | mg/L | TOC | % by weight | EC | TOC | mg/L
| Conductivity |  | µS/cm | Total Nitrogen |  | mg/L | pH | pH | TKN | mg/kg | pH | Total N | mg/L
|  |  |  | Total Phosphorus |  | mg/L | EC | uS/cm | Total Av P (bicarb ext) | mg/kg | SAR | Total P | mg/L
|  |  |  | Na |  | mg/L | Ox N (Nitrite+ Nitrate) | mg/L | Total Av K (bicarb ext) | mg/kg | Na | Na | mg/L
|  |  |  | Mg |  | mg/L |  |  | pH (1:5 water) | pH | Mg | Mg | mg/L
|  |  |  | K |  | mg/L |  |  | SAR | SAR | Ca | K | mg/L
|  |  |  | Ca |  | mg/L |  |  | EC (1:5 water) | uS/cm | Cl | Ca | mg/L
|  |  |  | Cl |  | mg/L |  |  | Ca (1:5 water) | mg/kg |  | Cl | mg/L
|  |  |  | SAR |  | SAR |  |  | Na (1:5 water) | mg/kg |  | pH | pH
|  |  |  | CO3 |  | mg/L |  |  | Mg (1:5 water) | mg/kg | E. Coli | HCO3 | mg/L
|  |  |  | HCO3 |  | mg/L |  |  |  |  | Total coliforms | EC | uS/cm
|  |  |  | Total Suspended Solids (TSS) |  | mg/L | [5 empty] | TDS | mg/L
|  |  |  | # BOD for 3 samples only |  | mg/L | [5 empty] | SAR | SAR
[12 empty] | CO3 | mg/L
[12 empty] | Insoluble solids | mg/L
[12 empty] | BOD | mg/L
[12 empty] | SO4 | mg/L
Container Requirements per Sample: | 1x 500 ml plastic (for inorganics) green |  |  | 1x 500 ml plastic (for inorganics) green 1x 100 ml glass (preserved H2SO4) purple (for TOC) 1x 60 ml plastic (preserved H2SO4) purple (nutrients) |  |  | 1x 500 ml plastic (for inorganics) green 1x 100 ml glass (preserve H2SO4) purple (for TOC) 1x 60 ml plastic (preserve H2SO4) purple (nutrients) |  | 1 x 250 ml glass jar (green) |  | 1x 500 ml sterile plastic (preserve) grey 1x 500 ml plastic (for inorganics) green | 1x 500 ml plastic (for inorganics) green 1x 60 ml plastic (preserved H2SO4) purple (nutrients) 1x 100 ml glass (preserve H2SO4) purple (for TOC)
Schedule Modification | Justification for exclusion from schedule or modification
Raw Water Testing | The number of locations for testing of raw and winery feed water has increased. E. coli and Total coliform testing added
Version 1 - Review 15/12/2019
Note on G5: ASearle: Licence reviewed Dec 2015. GW depth are to be taken whenever GW samples are taken and at least once during the months of Jan, Apr, July and Oct. in each reporting period. M2.7 Dec 2017 - Licence has not changed. Previous review findings still valid
Note on H5: Asearle: Licence reviewed Dec 2015. GW is to be sampled at least once during the months of July and January in each reporting year. (M 2.6) Dec 2017 - Licence has not changed. Previous review findings still valid
Note on J5: ASearle: Licence reviewed Dec 2015. Soil to be sampled at least once, in July (M 2.5) Dec 2017 - Licence has not changed. Previous review findings still valid
Note on B8: ASearle: Reviewed Dec 2015. 14 day interval during pre-vintage (M 2.3) Dec 2017 - Licence has not changed. Previous review findings still valid
Note on B10: Alison Searle: Reviewed Dec 2015. 7 day intervals during early, peak and late vintage. (M 2.3) Dec 2017 - Licence has not changed. Previous review findings still valid
Note on B22: ASearle: Reviewed Dec 2015. 14 day intervals during post-vintage (M 2.3) Dec 2017 - Licence has not changed. Previous review findings still valid
Note on B26: ASearle: Reviewed Dec 2015. 8 week intervals during non-vintage (M 2.3) Dec 2017 - Licence has not changed. Previous review findings still valid

## Data-VOLUME DISCHARGED
LICENCE HOLDER | Duxton Winery Buronga
LICENCE NO. | 3657
PUBLISHED | 2020-06-17
SAMPLING POINT | 6
REPORTING MONTH | POLLUTANT | UNIT OF MEASURE | MONITORING FREQUENCY REQUIRED BY LICENCE | NO. OF TIMES MEASURED DURING MONTH | MIN. VALUE | MEAN VALUE | MAX. VALUE | LIMIT | EXCEEDANCE (YES/NO)
2019-10-01 | VOLUME OFWASTEWATER DISCHARGED | kilolitres per day | CONTINUOUS | CONTINUOUS | 1 | 36 | 133 | 2500 | NO
2019-11-01 | VOLUME OFWASTEWATER DISCHARGED | kilolitres per day | CONTINUOUS | CONTINUOUS | 0 | 60 | 205 | 2500 | NO
2019-12-01 | VOLUME OFWASTEWATER DISCHARGED | kilolitres per day | CONTINUOUS | CONTINUOUS | 0 | 44 | 172 | 2500 | NO
2020-01-01 | VOLUME OFWASTEWATER DISCHARGED | kilolitres per day | CONTINUOUS | CONTINUOUS | 0 | 132 | 568 | 2500 | NO
2020-02-01 | VOLUME OFWASTEWATER DISCHARGED | kilolitres per day | CONTINUOUS | CONTINUOUS | 129 | 429 | 606 | 2500 | NO
2020-03-01 | VOLUME OFWASTEWATER DISCHARGED | kilolitres per day | CONTINUOUS | CONTINUOUS | 144 | 460 | 819 | 2500 | NO
2020-04-01 | VOLUME OFWASTEWATER DISCHARGED | kilolitres per day | CONTINUOUS | CONTINUOUS | 44 | 386 | 758 | 2500 | NO
2020-05-01 | VOLUME OFWASTEWATER DISCHARGED | kilolitres per day | CONTINUOUS | CONTINUOUS | 1 | 175 | 416 | 2500 | NO
2020-06-01 | VOLUME OFWASTEWATER DISCHARGED | kilolitres per day | CONTINUOUS | CONTINUOUS | 1 | 109 | 223 | 2500 | NO
2020-07-01 | VOLUME OFWASTEWATER DISCHARGED | kilolitres per day | CONTINUOUS | CONTINUOUS |  |  |  | 2500 | NO
2020-08-01 | VOLUME OFWASTEWATER DISCHARGED | kilolitres per day | CONTINUOUS | CONTINUOUS |  |  |  | 2500 | NO
2020-09-01 | VOLUME OFWASTEWATER DISCHARGED | kilolitres per day | CONTINUOUS | CONTINUOUS |  |  |  | 2500 | NO
2020-10-01 | VOLUME OFWASTEWATER DISCHARGED | kilolitres per day | CONTINUOUS | CONTINUOUS |  |  |  | 2500 | NO
2020-11-01 | VOLUME OFWASTEWATER DISCHARGED | kilolitres per day | CONTINUOUS | CONTINUOUS |  |  |  | 2500 | NO
2020-12-01 | VOLUME OFWASTEWATER DISCHARGED | kilolitres per day | CONTINUOUS | CONTINUOUS |  |  |  | 2500 | NO

## Data-WASTEWATER MONITORING
LICENCE HOLDER | Duxton Winery Buronga
LICENCE NO. | 3657
DATA PUBLISHED DATE | 2020-06-19 | Current BU2018
SAMPLING POINT
SAMPLED DATE | DATA OBTAINED DATE | DATA PUBLISHED DATE | MONITORING FREQUENCY REQUIRED BY LICENCE | POLLUTANT | UNITS OD MEASUREMENT | MEASUREMENT | LIMIT | EXCEEDING (YES/NO) | COMMENT
2020-05-26 | 2020-06-04 |  | EARLY,PEAK & LATE VINTAGE - 7 DAY INTERVALS PRE & POST VINTAGE - 14 DAY INTERVALS NON-VINTAGE - 8 WEEK INTERVAL | BICARBONATE | mg/L | 440
| BU2017 |  |  | CARBONATE | mg/L | <10
|  |  |  | CALCIUM | mg/L | 33
|  |  |  | CHLORIDE | mg/L | 20
|  |  |  | MAGNESIUM | mg/L | 81
|  |  |  | TOTAL NITROGEN | mg/L | 3.2
|  |  |  | TOTAL PHOSPHORUS | mg/L | 4.6
|  |  |  | POTASSIUM | mg/L | 170
|  |  |  | SODIUM | mg/L | 71
|  |  |  | SODIUM ABSORPTION RATIO | SAR | 1.5
|  |  |  | TOTAL ORGANIC CARBON | mg/L | 1300
|  |  |  | TOTAL SUSPENDED SOLIDS | mg/L | 240
|  |  |  | pH | pH | 6.1 | 5.0 -8.5 | NO
|  |  |  | CONDUCTIVITY | mS/cm | 1240 | 4200 | NO
|  |  | # FIRST 3 CONSECUTIVE SAMPLES DURING VINTAGE | # BIOCHEMICAL OXYGEN DEMAND | mg/L | -
2020-06-10 | 2020-06-19 |  | EARLY,PEAK & LATE VINTAGE - 7 DAY INTERVALS PRE & POST VINTAGE - 14 DAY INTERVALS NON-VINTAGE - 8 WEEK INTERVAL | BICARBONATE | mg/L | 660
| BU2018 |  |  | CARBONATE | mg/L | <10
|  |  |  | CALCIUM | mg/L | 28
|  |  |  | CHLORIDE | mg/L | 25
|  |  |  | MAGNESIUM | mg/L | 22
|  |  |  | TOTAL NITROGEN | mg/L | 67
|  |  |  | TOTAL PHOSPHORUS | mg/L | 4.6
|  |  |  | POTASSIUM | mg/L | 220
|  |  |  | SODIUM | mg/L | 100
|  |  |  | SODIUM ABSORPTION RATIO | SAR | 3.5
|  |  |  | TOTAL ORGANIC CARBON | mg/L | 2600
|  |  |  | TOTAL SUSPENDED SOLIDS | mg/L | 430
|  |  |  | pH | pH | 5.3 | 5.0 -8.5 | NO
|  |  |  | CONDUCTIVITY | mS/cm | 2000 | 4200 | NO
|  |  | # FIRST 3 CONSECUTIVE SAMPLES DURING VINTAGE | # BIOCHEMICAL OXYGEN DEMAND | mg/L | 4100
|  |  | EARLY,PEAK & LATE VINTAGE - 7 DAY INTERVALS PRE & POST VINTAGE - 14 DAY INTERVALS NON-VINTAGE - 8 WEEK INTERVAL | BICARBONATE | mg/L
|  |  |  | CARBONATE | mg/L
|  |  |  | CALCIUM | mg/L
|  |  |  | CHLORIDE | mg/L
|  |  |  | MAGNESIUM | mg/L
|  |  |  | TOTAL NITROGEN | mg/L
|  |  |  | TOTAL PHOSPHORUS | mg/L
|  |  |  | POTASSIUM | mg/L
|  |  |  | SODIUM | mg/L
|  |  |  | SODIUM ABSORPTION RATIO | SAR
|  |  |  | TOTAL ORGANIC CARBON | mg/L
|  |  |  | TOTAL SUSPENDED SOLIDS | mg/L
|  |  |  | pH | pH |  | 5.0 -8.5 | NO
|  |  |  | CONDUCTIVITY | mS/cm |  | 4200 | NO
|  |  | # FIRST 3 CONSECUTIVE SAMPLES DURING VINTAGE | # BIOCHEMICAL OXYGEN DEMAND | mg/L

## Data-SOIL MONITORING
LICENCE HOLDER | Duxton Winery Buronga
LICENCE NO. | 3657
DATA PUBLISHED DATE
SAMPLED DATE
DATA OBTAINED DATE
SAMPLING POINT | MONITORING FREQUENCY REQUIRED BY LICENCE | POLLUTANT | UNITS OF MEASUREMENT | MEASUREMENT(Depth 10cm) | MEASUREMENT(Depth 50cm) | MEASUREMENT(Depth 1.5M)
2 | Annually - July | CALCIUM | mg/kg
|  | MAGNESIUM | mg/kg
|  | SODIUM | mg/kg
|  | TOTAL AVAILABLE POTASSIUM | mg/kg
|  | pH | pH
|  | CONDUCTIVITY | mS/cm
|  | TOTAL KJELDAHL NITROGEN | mg/kg
|  | TOTAL ORGANIC CARBON | %w/w
|  | AVAILABLE PHOSPHORUS | mg/kg
3 | Annually - July | CALCIUM | mg/kg
|  | MAGNESIUM | mg/kg
|  | SODIUM | mg/kg
|  | TOTAL AVAILABLE POTASSIUM | mg/kg
|  | pH | pH
|  | CONDUCTIVITY | mS/cm
|  | TOTAL KJELDAHL NITROGEN | mg/kg
|  | TOTAL ORGANIC CARBON | %w/w
|  | AVAILABLE PHOSPHORUS | mg/kg
4 | Annually - July | CALCIUM | mg/kg
|  | MAGNESIUM | mg/kg
|  | SODIUM | mg/kg
|  | TOTAL AVAILABLE POTASSIUM | mg/kg
|  | pH | pH
|  | CONDUCTIVITY | mS/cm
|  | TOTAL KJELDAHL NITROGEN | mg/kg
|  | TOTAL ORGANIC CARBON | %w/w
|  | AVAILABLE PHOSPHORUS | mg/kg
5 | Annually - July | CALCIUM | mg/kg
|  | MAGNESIUM | mg/kg
|  | SODIUM | mg/kg
|  | TOTAL AVAILABLE POTASSIUM | mg/kg
|  | pH | pH
|  | CONDUCTIVITY | mS/cm
|  | TOTAL KJELDAHL NITROGEN | mg/kg
|  | TOTAL ORGANIC CARBON | %w/w
|  | AVAILABLE PHOSPHORUS | mg/kg

## Data-GROUNDWATER MONITORING
LICENCE HOLDER | Duxton Winery Buronga
LICENCE NO. | 3657
DATA PUBLISHED DATE
SAMPLED DATE | 2020-01-13
DATA OBTAINED DATE | 2020-01-22
SAMPLING POINT | MONITORING FREQUENCY REQUIRED BY LICENCE | POLLUTANT | UNITS OF MEASUREMENT | JAN MEASUREMENT
8 | TWICE/YEAR- July & Jan | STANDING WATER LEVEL | m | 32.015
|  | NITRATE + NITRITE (OXIDISED NITROGEN) | mg/L | 0.08
|  | TOTAL ORGANIC CARBON | mg/L | <5
|  | pH | pH | 4.2
|  | CONDUCTIVITY | mS/cm | 54000
9 | TWICE/YEAR- July & Jan | STANDING WATER LEVEL | m | 31.14
|  | NITRATE + NITRITE (OXIDISED NITROGEN) | mg/L | 280
|  | TOTAL ORGANIC CARBON | mg/L | 8.3
|  | pH | pH | 6.2
|  | CONDUCTIVITY | mS/cm | 38000
10 | TWICE/YEAR- July & Jan | STANDING WATER LEVEL | m | 30.5
|  | NITRATE + NITRITE (OXIDISED NITROGEN) | mg/L | 1.5
|  | TOTAL ORGANIC CARBON | mg/L | <5
|  | pH | pH | 7.3
|  | CONDUCTIVITY | mS/cm | 46000
11 | TWICE/YEAR- July & Jan | STANDING WATER LEVEL | m | 31.135
|  | NITRATE + NITRITE (OXIDISED NITROGEN) | mg/L | 0.62
|  | TOTAL ORGANIC CARBON | mg/L | 5.5
|  | pH | pH | 7.9
|  | CONDUCTIVITY | mS/cm | 29000
12 | TWICE/YEAR- July & Jan | STANDING WATER LEVEL | m | 31.11
|  | NITRATE + NITRITE (OXIDISED NITROGEN) | mg/L | 0.26
|  | TOTAL ORGANIC CARBON | mg/L | <5
|  | pH | pH | 7.6
|  | CONDUCTIVITY | mS/cm | 29000
SAMPLING POINT | MONITORING FREQUENCY REQUIRED BY LICENCE | POLLUTANT | UNITS OF MEASUREMENT | JULY MEASUREMENT
8 | TWICE/YEAR- July & Jan | STANDING WATER LEVEL | m
|  | NITRATE + NITRITE (OXIDISED NITROGEN) | mg/L
|  | TOTAL ORGANIC CARBON | mg/L
|  | pH | pH
|  | CONDUCTIVITY | mS/cm
9 | TWICE/YEAR- July & Jan | STANDING WATER LEVEL | m
|  | NITRATE + NITRITE (OXIDISED NITROGEN) | mg/L
|  | TOTAL ORGANIC CARBON | mg/L
|  | pH | pH
|  | CONDUCTIVITY | mS/cm
10 | TWICE/YEAR- July & Jan | STANDING WATER LEVEL | m
|  | NITRATE + NITRITE (OXIDISED NITROGEN) | mg/L
|  | TOTAL ORGANIC CARBON | mg/L
|  | pH | pH
|  | CONDUCTIVITY | mS/cm
11 | TWICE/YEAR- July & Jan | STANDING WATER LEVEL | m
|  | NITRATE + NITRITE (OXIDISED NITROGEN) | mg/L
|  | TOTAL ORGANIC CARBON | mg/L
|  | pH | pH
|  | CONDUCTIVITY | mS/cm
12 | TWICE/YEAR- July & Jan | STANDING WATER LEVEL | m
|  | NITRATE + NITRITE (OXIDISED NITROGEN) | mg/L
|  | TOTAL ORGANIC CARBON | mg/L
|  | pH | pH
|  | CONDUCTIVITY | mS/cm

## Data-pH MONITORING
LICENCE HOLDER | Duxton Winery Buronga
LICENCE NO. | 3657
PUBLISHED | 2020-06-17
SAMPLING POINT | 13
REPORTING MONTH | POLLUTANT | UNIT OF MEASURE | MONITORING FREQUENCY REQUIRED BY LICENCE | NO. OF TIMES MEASURED DURING MONTH | MIN. VALUE | MEAN VALUE | MAX. VALUE
2019-10-01 | pH | pH | CONTINUOUS | CONTINUOUS | 5.1 | 6.42 | 8.4
2019-11-01 | pH | pH | CONTINUOUS | CONTINUOUS | 5.1 | 6.97 | 8.4
2019-12-01 | pH | pH | CONTINUOUS | CONTINUOUS | 5.1 | 6.86 | 8.4
2020-01-01 | pH | pH | CONTINUOUS | CONTINUOUS | 5.1 | 6.48 | 8.4
2020-02-01 | pH | pH | CONTINUOUS | CONTINUOUS | 5.1 | 5.93 | 8.4
2020-03-01 | pH | pH | CONTINUOUS | CONTINUOUS | 5.1 | 6.08 | 8.4
2020-04-01 | pH | pH | CONTINUOUS | CONTINUOUS | 5.1 | 6.47 | 8.4
2020-05-01 | pH | pH | CONTINUOUS | CONTINUOUS | 5.1 | 6.15 | 8.4
2020-06-01 | pH | pH | CONTINUOUS | CONTINUOUS | 5.1 | 5.65 | 8.4
2020-07-01 | pH | pH | CONTINUOUS | CONTINUOUS
2020-08-01 | pH | pH | CONTINUOUS | CONTINUOUS
2020-09-01 | pH | pH | CONTINUOUS | CONTINUOUS
2020-10-01 | pH | pH | CONTINUOUS | CONTINUOUS
2020-11-01 | pH | pH | CONTINUOUS | CONTINUOUS
2020-12-01 | pH | pH | CONTINUOUS | CONTINUOUS

## Correction Log
LICENCE HOLDER | Duxton Winery Buronga
LICENCE NO. | 3657
SAMPLE POINT | INSTRUMENT | POLLUTANT | SAMPLE DATE | ORGINAL DATA | CORRECTED DATA | DATE CORRECTED | DATE ORIGINALLY PUBLISHED | REASON